Blood Glucose Monitoring–FIngerstick

Considerations:

- Provide the student with as much privacy as possible.

- Encourage the student to assist in the procedure as much as they are able to help the student learn self-care skills.

- Ensure strips are contained in a tightly sealed container and show no signs of discoloration.

  - Prolonged exposure of test strips to air may lead to inaccurate results.

  - Discolored test strips should be discarded.

- Review manufacturer's instructions regarding how long to keep an opened bottle of test strips before needing to discard.

- Be sure to inform school staff that a student with diabetes should never be sent anywhere alone if feeling hypoglycemic or hyperglycemic.

Supplies:

- Blood glucose monitor

- Testing strips

- Sterile disposable lancet

- Automatic lancet or lancet pen

- Cotton ball

- Gloves

- Sharps container

- Diabetes Medical Management Plan/Health care provider’s order and student’s Individualized Health Care Plan (IHCP)

- Parent/Guardian authorization form

Procedure for blood glucose monitoring:

- Review student’s Diabetes Medical Management Plan/health care provider’s order

- Ensure proper documentation of parent/guardian authorization to perform this procedure

- Position student to provide as much privacy as possible

- Explain the procedure to the student at their level of understanding

- Encourage the student to assist in the procedure as much as they are able to help student learn self-care skills

- Gather supplies and place on a clean surface

- Check expiration date on testing strips

- Ensure strips are contained in a tightly sealed container and show no signs of discoloration

  - Discolored test strips should be discarded

- Review manufacturer’s instructions regarding how long to keep opened bottle of test strips before needing to discard

- Perform quality control on equipment per manufacturer’s instructions

  - Or verify that appropriate quality control has been completed today

- Wash hands

- Put on gloves

- Have student wash hands or clean the student’s fingertip with warm wet cloth, let the fingertip dry

- Insert the monitor specific test strip into meter

  - Calibrate meter by matching test strip code to code on the meter (if required)

- Insert new lancet into lancing device (per lancet device manufacturer’s instructions)

- Hold the lancet device perpendicular to the student’s fingertip or other specified location  and pierce the skin with the lancet (per meter specific or Diabetes Medical Management Plan/health care provider’s order), to get a drop of blood

  - Do not use the pads of the fingers

- Gently squeeze or massage finger until a drop of blood forms

- Touch and hold the edge of the test strip to the drop of blood, and wait for the result

- Blood glucose level will appear on the meter’s display

  - Meters do not only display numbers

  - Some display “Lo” or “Hi” for results outside of the meter’s parameters

  - Some display error messages

  - Consult with the meter manual to determine the meaning of messages

- Hold cotton ball on student’s finger until bleeding stops

- Place used lancet in sharps container

- Once blood glucose level has displayed, remove test strip and throw away per school policy

- Remove gloves

- Wash hands

- Have the student wash their hands

- Document blood glucose reading in student’s health care record

- Follow Diabetes Medical Management Plan/health care provider’s orders for snacks, hyper or hypoglycemia, or insulin coverage

- Update parent’s and health care provider as needed

References:

American Diabetes Association. (n.d.). Training resources for school staff. Tips for school nurses. Retreived June 8, 2023, from https://diabetes.org/tools-support/know-your-rights/safe-at-school-state-laws/training-resources-school-staff/tips-for-school-nurses

Diabetic care may be provided to students, when, trained personnel to be on site. Missouri Revisor of Statutes 167.809. (2013). https://revisor.mo.gov/main/OneSection.aspx?section=167.809

Lynn, P. (2019). Obtaining a capillary blood sample for glucose testing. In Skill checklists for Taylor’s clinical nursing skills. A nursing process approach.  (5th ed.). (pp. 405-406).

Mayo Clinic. (2021). Blood sugar testing: Why, when and how.  Accessed on September 15, 2021 from https://www.mayoclinic.org/diseases-conditions/diabetes/in-depth/blood-sugar/art-20046628

National Association of School Nurses. (2022, June 15). School nursing evidence-based clinical practice guideline: Students with type 1 diabetes toolkit. Retrieved June 2, 2023, from https://cdn.fs.pathlms.com/HRuI7pAvQWiJPZdzH6i8

National Association of School Nurses. (2021). School nursing evidence-based clinical practice guideline: Students with type 1 diabetes. Silver Spring, MD: Author. Retrieved June 2, 2023, from https://learn.nasn.org/courses/37660

Perry, A. G., Potter, P.A., Ostendorf, W., & Laplante, N. (2021). Procedural guideline 7.9 Blood glucose monitoring. In Clinical nursing skills and techniques. (10th ed.). (pp. 216-220). St. Louis, MO: Elsevier.

Weinstock, R.S. (2023, April 6). Patient education: Glucose monitoring in diabetes (beyond the basics). In a D.M. Nathan (Ed.), UpToDate. Retrieved: June 5, 2023, from https://www.uptodate.com/contents/glucose-monitoring-in-diabetes-beyond-the-basics